## IO List
Circuit | Circuit No | Template | Name | Description | Signal Type | Direction | IO Type
N/A | N |  | FIRE_ALM | Reserved | Analog | Input | Status Box
N/A | N |  | MAU_EN | Reserved | Analog | Input | Status Box
N/A | N |  | SA_SP | Reserved | Analog | Input | Status Box
N/A | N |  | RH_SP | Reserved | Analog | Input | Status Box
N/A | N |  | Reserve1 | Reserved | Analog | Input | Status
N/A | N |  | Reserve2 | Reserved | Analog | Input | Status
N/A | N |  | ResetB | Reserved | Analog | Input | Status Box
N/A | N |  | DXLT | Reserved | Analog | Input | Status
N/A | N |  | OAT | Reserved | Analog | Input | Status
N/A | N |  | OAH | Reserved | Analog | Input | 18v
N/A | N |  | SAT | Reserved | Analog | Input | Status
N/A | N |  | SAH | Reserved | Analog | Input | 18v
N/A | N |  | RAT | Reserved | Analog | Input | Status
N/A | N |  | RAH | Reserved | Analog | Input | 18v
N/A | N |  | EAT | Reserved | Analog | Input | Status
N/A | N |  | EAH | Reserved | Analog | Input | 18v
N/A | N |  | SAP | Reserved | Analog | Input | 18v
N/A | N |  | RAP | Reserved | Analog | Input | 18v
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS1 | Supply Fan Status 1 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS4 | Supply Fan Status 4 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS2 | Supply Fan Status 2 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS5 | Supply Fan Status 5 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS3 | Supply Fan Status 3 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS6 | Supply Fan Status 6 | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS4 | Supply Fan Status 4 | Analog | Input | Status
N/A | N |  | SF_STS4 | Reserved | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS5 | Supply Fan Status 5 | Analog | Input | Status
N/A | N |  | SF_STS5 | Reserved | Analog | Input | Status
AHU - 1016 | AHU | 3_Supply_Fan | SF_STS6 | Supply Fan Status 6 | Analog | Input | Status
N/A | N |  | SF_STS6 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS1 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS2 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS3 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS4 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS5 | Reserved | Analog | Input | Status
N/A | N |  | RF-STS6 | Reserved | Analog | Input | Status
N/A | N |  | OADAMPER_STS1 | Reserved | Analog | Input | Status
N/A | N |  | OADAMPER_STS2 | Reserved | Analog | Input | Status
N/A | N |  | EADAMPER_STS1 | Reserved | Analog | Input | Status
N/A | N |  | EADAMPER_STS2 | Reserved | Analog | Input | Status
N/A | N |  | PRE_FILTER_P | Reserved | Analog | Input | 18v
N/A | N |  | FINAL_FILTER_P | Reserved | Analog | Input | 18v
ahu2 | AHU | ENTH-WHEEL | ENT_WH_STS | Ent Wheel Status | Analog | Input | Status